## Sheet1
ITB# 48-22, BACKFLOW DEVICES AND PARTS
Exhibit A - Bid Pricing
Note: | All grouped items under a blue header must meet the requirements listed in the Detailed Specifications pg.16-19 for that item. No exceptions.
Any equivalents shall be pre-approved by the City. Make and Model of approved equivalents shall be filled out in appropriate column.
Bidder(s) are not required to bid on all groups, however, ALL LINE ITEMS WITHIN A GROUP MUST BE PRICED to be awarded that group.
DOUBLE CHECK VALVE (DCV) 3/4"- 2"
Group 1 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
1 | DOUBLE CHECK VALVE, 3/4" (APOLLO / CONBRACO DC-LF4A SERIES, WATTS LF719, AMES LF2000B, WILKINS 950-XLT2) | Each |  | 48 | 0
2 | DOUBLE CHECK VALVE, 1" (APOLLO / CONBRACO DC-LF4A, WATTS LF719 ,AMES LF2000B, WILKINS 950-XLT2) | Each |  | 60 | 0
3 | DOUBLE CHECK VALVE 1 1/4" (APOLLO / CONBRACO DC-LF4A, WATTS LF719 ,AMES LF2000B, WILKINS 950-XLT2) | Each |  | 4 | 0
4 | DOUBLE CHECK VALVE, 1 1/2" (APOLLO / CONBRACO DC-LF4A, WATTS LF719, AMES LF2000B, WILKINS 950-XLT2) | Each |  | 24 | 0
5 | DOUBLE CHECK VALVE, 2" (APOLLO / CONBRACO DC-LF4A, WATTS LF719, AMES LF2000B, WILKINS 950-XLT2) | Each |  | 24 | 0
|  | Group 1 Subtotal (Items 1-5) |  |  | 0
DOUBLE CHECK VALVE ASSEMBLY (DCVA) 3"-8"
Group 2 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
6 | DOUBLE CHECK VALVE ASSEMBLY, 3" (AMES MODEL 2000SS-OSY) | Each |  | 6 | 0
7 | DOUBLE CHECK VALVE ASSEMBLY, 4" (AMES MODEL 2000SS-OSY) | Each |  | 6 | 0
8 | DOUBLE CHECK VALVE ASSEMBLY, 6" (AMES MODEL 2000SS-OSY) | Each |  | 1 | 0
9 | DOUBLE CHECK VALVE ASSEMBLY 8" (AMES MODEL 2000SS-OSY) | Each |  | 1 | 0
|  | Group 2 Subtotal (Items 6-9) |  |  | 0
DOUBLE CHECK DETECTOR ASSMBLY (DCDA) 2"
Group 3 Item | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
10 | DETECTOR CHECK, 2" (AMES MODEL 3000BM1-OSY-CFM) | Each |  | 8 | 0
|  | Group 3 Subtotal (Item 10) |  |  | 0
DOUBLE CHECK DETECTOR ASSEMBLY (DCDA) 4"-12"
Group 4 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
11 | DOUBLE DETECTOR CHECK 4" (AMES MODEL 3000SS-OSY-CFM) | Each |  | 16 | 0
12 | DOUBLE DETECTOR CHECK 6" (AMES MODEL 3000SS-OSY-CFM) | Each |  | 12 | 0
13 | DOUBLE DETECTOR CHECK 8" (AMES MODEL 3000SS-OSY-CFM) | Each |  | 8 | 0
14 | DOUBLE DETECTOR CHECK 10" (AMES MODEL 3000SS-OSY-CFM) | Each |  | 1 | 0
15 | DOUBLE DETECTOR CHECK 12" (AMES MODEL 3000SS-OSY-CFM) | Each |  | 1 | 0
|  | Group 4 Subtotal (Items 11-15) |  |  | 0
REDUCED PRESSURE ZONE (RPZ) 3/4"- 2"
Group 5 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
16 | RP DEVICE 3/4" (APOLLO / CONBRACO RP-LF4A SERIES, WATTS LF919, AMES LF4000B, WIKINS 975-XL2) | Each |  | 60 | 0
17 | RP DEVICE 1" (APOLLO / CONBRACO RP-LF4A SERIES, WATTS LF919, AMES LF4000B, WIKINS 975-XL2) | Each |  | 36 | 0
18 | RP DEVICE 1 1/2" (APOLLO / CONBRACO RP-LF4A SERIES, WATTS LF919, AMES LF4000B, WIKINS 975-XL2) | Each |  | 18 | 0
19 | RP DEVICE 2" (APOLLO / CONBRACO RP-LF4A SERIES, WATTS LF919, AMES LF4000B, WIKINS 975-XL2) | Each |  | 18 | 0
|  | Group 5 Subtotal (Items 16-19) |  |  | 0
REDUCED PRESSURE ZONE ASSEMBLY (RPZA) 3"-10"
Group 6 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
20 | RP DEVICE 3" (AMES MODEL 4000SS-OSY) | Each |  | 2 | 0
21 | RP DEVICE 4" (AMES MODEL 4000SS-OSY) | Each |  | 2 | 0
22 | RP DEVICE 6" (AMES MODEL 4000SS -OSY) | Each |  | 1 | 0
23 | RP DEVICE 8" (AMES MODEL 4000SS-OSY) | Each |  | 1 | 0
24 | RP DEVICE 10" (AMES MODEL 4000SS-OSY) | Each |  | 1 | 0
|  | Group 6 Subtotal (Items 20-24) |  |  | 0
FREEZE PROTECTION VALVE (FPV)
Group 7 Item | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
25 | FREEZE VALVE 3/4" (APOLLO 40LF-000-FPV1) | Each |  | 120 | 0
|  | Group 7 Subtotal (Item 25) |  |  | 0
MISCELLANEOUS PARTS
Group 8 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
26 | 1/4" MPT X 1/4" SAE ADAPTER, BRASS, LEAD FREE | Each |  | 400 | 0
27 | 1/4" FPT X 1/8" MPT TEST COCK, BRASS, LEAD FREE | Each |  | 200 | 0
28 | 1/4" FPT X 1/4" MPT TEST COCK, BRASS, LEAD FREE | Each |  | 200 | 0
|  | Group 8 Subtotal (Items 26-28) |  |  | 0
REPAIR KITS
Group 9 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
29 | AMES 4000/5000SS, RELIEF KIT, COMPLETE, P/N 7010114 | Each |  | 6 | 0
30 | AMES 4000/5000SS, RELIEF KIT, RUBBER PARTS, P/N 7010113 | Each |  | 6 | 0
31 | AMES RV HOSE P/N 7013343 | Each |  | 12 | 0
32 | AMES 2000/3000 SS , 2.5" - 4" CHECK 1, P/N 7010097 | Each |  | 12 | 0
33 | AMES 2000/3000 SS , 2.5" - 4" CHECK 2, P/N 7010100 | Each |  | 18 | 0
34 | AMES 4000/5000SS, 2.5"-4" CHECK 1, P/N 7010107 | Each |  | 6 | 0
35 | AMES 2000/3000SS, 6" CHECK 1, P/N 7010098 | Each |  | 12 | 0
36 | AMES 2000/3000SS, 6" CHECK 2, P/N 7010101 | Each |  | 12 | 0
37 | AMES 4000/5000SS, 6" CHECK 1, P/N 7010108 | Each |  | 4 | 0
38 | AMES 2000/3000SS, 8" CHECK 1, P/N 7010099 | Each |  | 10 | 0
39 | AMES 2000/3000SS, 8" CHECK 2, P/N 7010102 | Each |  | 10 | 0
40 | AMES 3000BM1, 2" COMPLETE RUBBER REBUILD P/N 7016202 | Each |  | 4 | 0
41 | AMES 3000BM1, 2" 1st CHECK ASSEMBLY P/N 7016200 | Each |  | 4 | 0
42 | AMES 3000BM1, 2" 2ND CHECK ASSEMBLY P/N 7016201 | Each |  | 4 | 0
43 | AMES 1/2" MODEL 2000B COMPLETE RUBBER REBUILD P/N 7016348 | Each |  | 4 | 0
44 | AMES 1/2" MODEL 2000B 1st OR 2nd CHECK ASSEMBLY P/N 7016330 | Each |  | 4 | 0
45 | AMES 1/2" MODEL 2000B DOUBLE CHECK VALVE, LESS VALVES | Each |  | 4 | 0
REPAIR KITS CONTINUED
Group 9 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
46 | AMES 1/2" 2000B COMPLETE RUBBER REBUILD KIT, 7016348 | Each |  | 4 | 0
47 | AMES 1/2" 2000B 1ST OR 2ND CHECK ASSEMBLY, 7016330 | Each |  | 8 | 0
48 | AMES 3/4" MODEL 2000BM3 DOUBLE CHECK VALVE, LESS VALVES | Each |  | 8 | 0
49 | AMES COVER KIT 2 1/2" - 4" P/N 7010090 | Each |  | 4 | 0
50 | AMES COVER KIT 6"-8" P/N 7010091 | Each |  | 4 | 0
51 | AMES COVER KIT 6" P/N 7010092 | Each |  | 4 | 0
52 | AMES COVER KIT 8" - 12" P/N7010093 | Each |  | 4 | 0
53 | APOLLO / CONBRACO DC-4ALF COMPLETE INTERNAL PARTS KIT, 4A-004-08, 3/4" | Each |  | 18 | 0
54 | APOLLO / CONBRACO DC-4ALF COMPLETE INTERNAL PARTS KIT, 4A-005-08, 1" | Each |  | 18 | 0
55 | APOLLO / CONBRACO DC-4ALF COMPLETE INTERNAL PARTS KIT, 4A-007-08, 1 1/2" | Each |  | 12 | 0
56 | APOLLO / CONBRACO DC-4ALF COMPLETE INTERNAL PARTS KIT, 4A-008-08, 2" | Each |  | 12 | 0
57 | APOLLO / CONBRACO DC-4ALF 1ST OR 2ND CHECK RUBBER REBUILD KIT, 4A-004-01, 3/4" | Each |  | 18 | 0
58 | APOLLO / CONBRACO DC-4ALF 1ST OR 2ND CHECK RUBBER REBUILD KIT, 4A-005-01, 1" | Each |  | 18 | 0
59 | APOLLO / CONBRACO DC-4ALF 1ST OR 2ND CHECK RUBBER REBUILD KIT, 4A-007-01, 1 1/2" | Each |  | 12 | 0
60 | APOLLO / CONBRACO DC-4ALF 1ST OR 2ND CHECK RUBBER REBUILD KIT, 4A-008-01, 2" | Each |  | 12 | 0
61 | APOLLO / CONBRACO RP-4ALF COMPLETE RUBBER REBUILD KIT 4A-004-09, 3/4" | Each |  | 18 | 0
REPAIR KITS CONTINUED
Group 9 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
62 | APOLLO / CONBRACO RP-4ALF COMPLETE RUBBER REBUILD KIT 4A-005-09, 1" | Each |  | 18 | 0
63 | APOLLO / CONBRACO RP-4ALF COMPLETE RUBBER REBUILD KIT 4A-007-09, 1 1/2" | Each |  | 12 | 0
64 | APOLLO / CONBRACO RP-4ALF COMPLETE RUBBER REBUILD KIT 4A-008-09, 2" | Each |  | 12 | 0
65 | APOLLO / CONBRACO RP-4ALF 1ST CHECK ASSEMBLY, 4A-004-03, 3/4" | Each |  | 24 | 0
66 | APOLLO / CONBRACO RP-4ALF 1ST CHECK ASSEMBLY, 4A-005-03, 1" | Each |  | 24 | 0
67 | APOLLO / CONBRACO RP-4ALF 1ST CHECK ASSEMBLY, 4A-007-03, 1 1/2" | Each |  | 12 | 0
68 | APOLLO / CONBRACO RP-4ALF 1ST CHECK ASSEMBLY, 4A-008-03, 2" | Each |  | 12 | 0
69 | APOLLO / CONBRACO RP-4ALF 2ND CHECK ASSEMBLY, 4A-004-02, 3/4" | Each |  | 18 | 0
70 | APOLLO / CONBRACO RP-4ALF 2ND CHECK ASSEMBLY, 4A-005-02, 1" | Each |  | 18 | 0
71 | APOLLO / CONBRACO RP-4ALF 2ND CHECK ASSEMBLY, 4A-007-02, 1 1/2" | Each |  | 12 | 0
72 | APOLLO / CONBRACO RP-4ALF 2ND CHECK ASSEMBLY, 4A-008-02, 2" | Each |  | 12 | 0
73 | APOLLO / CONBRACO RP-4ALF RELIEF VALVE ASSEMBLY, 4A-005-05, 1/2" - 1" | Each |  | 24 | 0
74 | APOLLO / CONBRACO RP-4ALF RELIEF VALVE ASSEMBLY, 4A-007-05, 1 1/2" | Each |  | 12 | 0
75 | APOLLO / CONBRACO RP-4ALF RELIEF VALVE ASSEMBLY, 4A-008-05, 2" | Each |  | 12 | 0
76 | WATTS LF719 COMPLETE INTERNAL PARTS KIT, 889084, 3/4" | Each |  | 18 | 0
77 | WATTS LF719 COMPLETE INTERNAL PARTS KIT, 889085, 1" | Each |  | 18 | 0
REPAIR KITS CONTINUED
Group 9 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
78 | WATTS LF719 COMPLETE INTERNAL PARTS KIT, 889086, 1 1/2" | Each |  | 12 | 0
79 | WATTS LF719 COMPLETE INTERNAL PARTS KIT, 889087, 2" | Each |  | 12 | 0
80 | WATTS LF719 COMPLETE RUBBER REBUILD KIT, 889079, 3/4" | Each |  | 18 | 0
81 | WATTS LF719 COMPLETE RUBBER REBUILD KIT, 889080, 1" | Each |  | 18 | 0
82 | WATTS LF719 COMPLETE RUBBER REBUILD KIT, 889081, 1 1/2" | Each |  | 12 | 0
83 | WATTS LF719 COMPLETE RUBBER REBUILD KIT, 889082, 2" | Each |  | 12 | 0
84 | WATTS LF919 COMPLETE RUBBER REBUILD KIT, 888141, 3/4" | Each |  | 18 | 0
85 | WATTS LF919 COMPLETE RUBBER REBUILD KIT, 888142, 1" | Each |  | 18 | 0
86 | WATTS LF919 COMPLETE RUBBER REBUILD KIT, 888143, 1 1/2" | Each |  | 12 | 0
87 | WATTS LF919 COMPLETE RUBBER REBUILD KIT, 888144, 2" | Each |  | 12 | 0
88 | WATTS LF919 1ST CHECK ASSEMBLY, 888111, 3/4" | Each |  | 18 | 0
89 | WATTS LF919 1ST CHECK ASSEMBLY, 888112, 1" | Each |  | 18 | 0
90 | WATTS LF919 1ST CHECK ASSEMBLY, 888113, 1 1/2" | Each |  | 12 | 0
91 | WATTS LF919 1ST CHECK ASSEMBLY, 888114, 2" | Each |  | 12 | 0
92 | WATTS LF919 2ND CHECK ASSEMBLY, 888116, 3/4" | Each |  | 18 | 0
REPAIR KITS CONTINUED
Group 9 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
93 | WATTS LF919 2ND CHECK ASSEMBLY, 888117, 1" | Each |  | 18 | 0
94 | WATTS LF919 2ND CHECK ASSEMBLY, 888118, 1 1/2" | Each |  | 12 | 0
95 | WATTS LF919 2ND CHECK ASSEMBLY, 888119, 2" | Each |  | 12 | 0
96 | WATTS LF919 RELIEF VALVE ASSEMBLY, 888131, 3/4" - 1" | Each |  | 36 | 0
97 | WATTS LF919 RELIEF VALVE ASSEMBLY, 888132, 1 1/4" - 2" | Each |  | 24 | 0
98 | AMES LF2000B COMPLETE RUBBER REBUILD KIT, 7016350, 3/4" | Each |  | 18 | 0
99 | AMES LF2000B COMPLETE RUBBER REBUILD KIT, 7016351, 1" | Each |  | 18 | 0
100 | AMES LF2000B COMPLETE RUBBER REBUILD KIT, 7016352, 1 1/2" | Each |  | 12 | 0
101 | AMES LF2000B COMPLETE RUBBER REBUILD KIT, 7016353, 2" | Each |  | 12 | 0
102 | AMES LF2000B 1ST CHECK ASSEMBLY, 7016332, 3/4" | Each |  | 12 | 0
103 | AMES LF2000B 1ST OR 2ND CHECK ASSEMBLY, 7016333, 1" | Each |  | 24 | 0
104 | AMES LF2000B 1ST CHECK ASSEMBLY, 7016334, 1 1/2" | Each |  | 12 | 0
105 | AMES LF2000B 1ST CHECK ASSEMBLY, 7016335, 2" | Each |  | 12 | 0
106 | AMES LF2000B 2ND CHECK ASSEMBLY, 7016338, 3/4" | Each |  | 18 | 0
107 | AMES LF2000B 2ND CHECK ASSEMBLY, 7016340, 1 1/2" | Each |  | 12 | 0
REPAIR KITS CONTINUED
Group 9 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
108 | AMES LF2000B 2ND CHECK ASSEMBLY, 7016341, 2" | Each |  | 12 | 0 | 1
109 | AMES LF4000B COMPLETE RUBBER REBUILD KIT, 7016377, 3/4" | Each |  | 18 | 0
110 | AMES LF4000B COMPLETE RUBBER REBUILD KIT, 7018656, 1" | Each |  | 18 | 0
111 | AMES LF4000B COMPLETE RUBBER REBUILD KIT, 7016379, 1 1/2" | Each |  | 12 | 0
112 | AMES LF4000B COMPLETE RUBBER REBUILD KIT, 7016380, 2" | Each |  | 12 | 0
113 | AMES LF4000B 1ST CHECK ASSEMBLY, 7016637, 3/4" | Each |  | 18 | 0
114 | AMES LF4000B 1ST CHECK ASSEMBLY, 7018650, 1" | Each |  | 18 | 0
115 | AMES LF4000B 1ST CHECK ASSEMBLY, 7016639, 1 1/2" | Each |  | 12 | 0
116 | AMES LF4000B 1ST CHECK ASSEMBLY, 7016640, 2" | Each |  | 12 | 0
117 | AMES LF4000B 2ND CHECK ASSEMBLY, 7016643, 3/4" | Each |  | 18 | 0
118 | AMES LF4000B 2ND CHECK ASSEMBLY, 7018651, 1" | Each |  | 18 | 0
119 | AMES LF4000B 2ND CHECK ASSEMBLY, 7016645, 1 1/2" | Each |  | 12 | 0
120 | AMES LF4000B 2ND CHECK ASSEMBLY, 7016646, 2" | Each |  | 12 | 0
121 | AMES LF4000B RELIEF VALVE SSEMBLY, 7016365, 3/4" | Each |  | 18 | 0
122 | AMES LF4000B RELIEF VALVE SSEMBLY, 7018654, 1" | Each |  | 18 | 0
REPAIR KITS CONTINUED
Group 9 Items | Stock Description (manufacturer part number) | Unit | Unit Price | Estimated Annual Quantity | Total Price | Equivalent Make/ Model
123 | AMES LF4000B RELIEF VALVE SSEMBLY, 7016367, 1 1/2" | Each |  | 12 | 0
124 | AMES LF4000B RELIEF VALVE SSEMBLY, 7016368, 2" | Each |  | 12 | 0
125 | WLKINS 950XLT2 COMPLETE RUBBER REBUILD KIT, RK34-950XLR, 3/4" - 1" | Each |  | 36 | 0
126 | WLKINS 950XLT2 COMPLETE RUBBER REBUILD KIT, RK114-950XLR, 1 1/4", 1 1/2" -2" | Each |  | 24 | 0
127 | WLKINS 950XLT2 COMPLETE INTERNAL PARTS KIT, RK34-950XLTC, 3/4" -1" | Each |  | 36 | 0
128 | WLKINS 950XLT2 COMPLETE INTERNAL PARTS KIT, RK114-950XLTC, 1 1/4", 1 1/2" - 2" | Each |  | 24 | 0
129 | WILKINS 975XL2 COMPLETE RUBBER REBUILD KIT, RK34-975XLR, 3/4" - 1" | Each |  | 36 | 0
130 | WILKINS 975XL2 COMPLETE RUBBER REBUILD KIT, RK114-975XLR, 1 1/4", 1 1/2" - 2" | Each |  | 24 | 0
131 | WILKINS 975XL2 1ST CHECK ASSEMBLY, RK34-975XL-CK1, 3/4" - 1" | Each |  | 36 | 0
132 | WILKINS 975XL2 1ST CHECK ASSEMBLY, RK114-975XL-CK1, 1 1/4", 1 1/2" - 2" | Each |  | 24 | 0
133 | WILKINS 975XL2 2ND CHECK ASSEMBLY, RK34-975XL-CK2, 3/4" -1" | Each |  | 36 | 0
134 | WILKINS 975XL2 2ND CHECK ASSEMBLY, RK114-975XL-CK2, 1 1/4", 1 1/2" - 2" | Each |  | 24 | 0
135 | WILKINS 975 XL2 RELIEF VALVE INTERNAL MODULE, RK34-975VT, 3/4" - 1" | Each |  | 36 | 0
136 | WILKINS 975 XL2 RELIEF VALVE INTERNAL MODULE, RK114-975VT, 1 1/4", 1 1/2" - 2" | Each |  | 24 | 0
137 | Apollo FPV repair kit 40LF-000-FPVR | Each |  | 25 | 0
|  | Group 9 Subtotal (Items 29-137) |  |  | 0
Exhibit A - Bid Pricing Summary
| Group 1: DOUBLE CHECK VALVE (DCV) 3/4"- 2" SUBTOTAL | 0
| Group 2: DOUBLE CHECK VALVE ASSEMBLY (DCVA) 3"-8" SUBTOTAL | 0
| Group 3: DOUBLE CHECK DETECTOR ASSMBLY (DCDA) 2" SUBTOTAL | 0
| Group 4: DOUBLE CHECK DETECTOR ASSEMBLY (DCDA) 4"-12" SUBTOTAL | 0
| Group 5: REDUCED PRESSURE ZONE (RPZ) 3/4"- 2" SUBTOTAL | 0
| Group 6: REDUCED PRESSURE ZONE ASSEMBLY (RPZA) 3"-10" SUBTOTAL | 0
| Group 7: FREEZE VALVE SUBTOTAL | 0
| Group 8: MISCELLANEOUS PARTS SUBTOTAL | 0
| Group 9: REPAIR KITS SUBTOTAL | 0
| GRAND TOTAL | 0